DART FIELD SERVICE PLAN Rev 1

STATIONS: 		41424, 44401 & 44402

CRUISE:		RV Oceanus

START DATE:  	23 June 2011

END DATE: 		09 July 2011

SUMMARY OF WORK

DART Team of John Blackmon (DART Field Service Technician/Chief Scientist), David Parrett (DART Mechanical Technician), and a TBD Mechanical Technician, will depart Stennis Space Center and proceed to Morehead City, NC to load and board the Research Vessel (R/V) OCEANUS in order to conduct service visits at DART Stations 41424,  44401 and 44402.

Prior to getting underway, the DART Team members will meet with the crew of the R/V Oceanus to discuss the upcoming deployment. Cruise discussions will involve the details of the intended buoy operations, as described below, and safety issues.

| Station/Hull | Designated Location | Estimated Depth (Meters) | Notes |
| --- | --- | --- | --- |
| 41424 Station 41424 BPR | 32° 55’ 48” N 72° 29’ 48” W 32° 55’ 40” N 72° 28’ 07” W | 5289 5280 | No buoy on station |
| 44401 Station 44401 BPR | 37° 33’ 50” N 50° 00’ 37” W 37° 33’ 54” N 49° 59’ 33” W | 5392 5377 | No buoy on station |
| 44402 Station 44402 BPR | 39° 23’ 57” N 70° 56’ 31” W 39° 23’ 58” N 70° 56’ 05” W | 2443 2460 | Buoy pulled ~1 nm off station |

NOTE: Before commencing buoy operations, it is important that each of the persons involved know their role on the deck of the ship.  The utilization of taglines to control the movement of all DART equipment is imperative, especially when transporting equipment over the water. Prior to buoy operations, all parties involved must meet to discuss a plan of deployment to ensure the safety of the team and equipment.

Contact Requirements

-----------------------------------

It is imperative that the Field Service Technician checks in on a daily basis, with the DART Data Analyst and DART Project Manager/DART Field Service Lead at SAIC, to ensure management is updated on the current status of the field service as well as to receive any updates to this document, or other directions, which may be pertinent. The following matrix defines when to contact NDBC.

| When to Contact | Who to Contact | Via |
| --- | --- | --- |
| Daily | Project Manager & Data Analyst | Satellite Phone |
| ETA to Station (Update as Required) | Project Manager/Data Analyst | ***Email |
| Arrival On Station (if different than ETA) | **Data Analyst | Satellite Phone |
| BPR Recovery (Provide position/time) | *Data Analyst | ***Email |
| Prior to BPR Deployment | Data Analyst | Satellite Phone |
| Following BPR Settling on Bottom | **Data Analyst | Satellite Phone |
| Prior to Release from Station | *Data Analyst | Satellite Phone |
| Any issues effecting service visit | Project Manager/Data Analyst | Satellite Phone |

* Data Analyst will notify the DART Project Manager via Email

** Data Analyst will notify the DART Project Manager via Telephone

*** If Available

NOTE: DART systems will be dock-side tested prior to being released for loading. Each system is required to pass a 12 hour dock-side test (See P09-0012: Pre-Deployment Dockside Test).

NOTE: Buoy operations will be conducted in accordance with P08-0047: DART II Buoy and BPR Deployment and ETP 09-003: DART II Buoy and BPR Recovery Procedures.

Service at 41424

-----------------------------------

Station 41424 Required Equipment

- DART II Buoy (Upgraded hardware/firmware/diodes installed)

-DART II BPR (Upgraded hardware/firmware/diodes installed)

-Anchor, BPR, buoy mooring

This station was last serviced on 21 August 2010. When within 50 nm of the station the team will request the hull-mounted ADCP begin collecting current profiles. Upon arriving at DART Station 41424, the team will take a depth reading with the ships echo sounder and perform a full ocean CTD cast. Once the CTD cast is complete buoy operations will commence. Buoy operations will consist of recovering the existing BPR. A new buoy containing new batteries and payloads with latest hardware and firmware (version 2.39) will be deployed on a new mooring on station. A new BPR, with latest hardware and firmware will then be deployed.  Following confirmation that the BPR has reached the ocean floor, a three point acoustic triangulation method will be conducted, as feasible, to confirm the BPR position, utilizing the Angulate program.

NOTE: Prior to deploying and following recovery of any BPR, it is imperative to take appropriate Paros Oscillator Frequency checks and record them with the time taken (in GMT). Please ensure this data in entered into your trip report.

NOTE: Prior to deploying the new BPR, when formatting the flash card, give the filename of the station being deployed (41424.dat). This will aid in easier identification and tracking of the BPR data.

NOTE:  Prior to deploying the BPR, initiate a screen capture of all BPR data.  Submit this with your trip report.

Following the service visit of DART Station 41424, the ship will remain on station for verification of the next scheduled 6-hour data transmission to the RUDICS Server. This will be coordinated with the DAC, DART Analyst or DART Project Manager. Once the block of hourly transmitted data is verified by the National Data Buoy Center (NDBC), the ship will be released from station.

Note: The recovered LRUs from the station will be tagged and returned to NDBC, as appropriate.

Service at 44401

-----------------------------------

Station 44401 Required Equipment

- DART II Buoy (Upgraded hardware/firmware/diodes installed)

-DART II BPR (Upgraded hardware/firmware/diodes installed)

-Anchor, BPR, buoy mooring

This station was last serviced on 25 May 2010. When within 50 nm of the station the team will request the hull-mounted ADCP begin collecting current profiles. Upon arriving at DART Station 44401, the team will take a depth reading with the ships echo sounder and perform a full ocean CTD cast. Once the CTD cast is complete buoy operations will commence. Buoy operations will consist of recovering the existing BPR. A new buoy containing new batteries and payloads with latest hardware and firmware (version 2.39) will be deployed on a new mooring on station. A new BPR, with latest hardware and firmware will then be deployed.  Following confirmation that the BPR has reached the ocean floor, a three point acoustic triangulation method will be conducted, as feasible, to confirm the BPR position, utilizing the Angulate program.

NOTE: Prior to deploying and following recovery of any BPR, it is imperative to take appropriate Paros Oscillator Frequency checks and record them with the time taken (in GMT). Please ensure this data in entered into your trip report.

NOTE: Prior to deploying the new BPR, when formatting the flash card, give the filename of the station being deployed (44401.dat). This will aid in easier identification and tracking of the BPR data.

NOTE:  Prior to deploying the BPR, initiate a screen capture of all BPR data.  Submit this with your trip report.

Following the service visit of DART Station 44401, the ship will remain on station for verification of the next scheduled 6-hour data transmission to the RUDICS Server. This will be coordinated with the DAC, DART Analyst or DART Project Manager. Once the block of hourly transmitted data is verified by the National Data Buoy Center (NDBC), the ship will be released from station.

Note: The recovered LRUs from the station will be tagged and returned to NDBC, as appropriate. See Appendix 16.

NOTE:  If time permits, the drifting buoy from this station will be recovered.

Service at 44402

-----------------------------------

Station 44402 Required Equipment

-DART II Buoy Payload and Batteries (Diodes Installed)

This station was last serviced on 25 September 2010. When within 50 nm of the station the team will request the hull-mounted ADCP begin collecting current profiles. Upon arriving at DART Station 44402, the team will take a depth reading with the ships echo sounder and perform a full ocean CTD cast. Once the CTD cast is complete buoy operations will commence. Buoy operations will consist of recovering the existing BPR and the remnant of the failed mooring. A new buoy containing new batteries and payloads with latest hardware and firmware (version 2.39) will be deployed on a new mooring on station. A new BPR, with latest hardware and firmware will then be deployed.  Following confirmation that the BPR has reached the ocean floor, a three point acoustic triangulation method will be conducted, as feasible, to confirm the BPR position, utilizing the Angulate program.

Following the service visit of DART Station 44402, the ship will remain on station for verification of the next scheduled 6-hour data transmission to the RUDICS Server. This will be coordinated with the DAC, DART Analyst or DART Project Manager. Once the block of hourly transmitted data is verified by the National Data Buoy Center (NDBC), the ship will be released from station.

Note: The recovered LRUs from the station will be tagged and returned to NDBC, as appropriate.

SAFETY

A Supervisors Accident/Incident Investigation Report form is attached in Appendix 18.  This form should be completed within 24 hours after the incident/accident. If an accident/incident occurs, obtain the report number from NTSC Operations.

POINTS OF CONTACT

SAIC

Data Assembly Center (DAC): (228) 688-2835

Tracy Boudreaux: Office: (228) 688-3716, Home: (601) 889-1385, Cell: (601) 590-0163

Kirk Benson: Office: (228) 688-1737, Home: (985) 643-2916, Cell: (228) 671-9621

John Tancredi: Office: (228) 688-2050

Stephanie Jordan: Office: (228) 688-3456, Cell: (228) 216-9187

IT Help Desk: During Work Hours: (228) 688-1415, After Hours: (228) 216-3731

SAIC International Security Manager, Jason Dury: (703) 676-5874 or (571) 337-0081

SAIC Asst to Dir of International Business, Laurie Pfeiffer:  (805) 682-0639 or (805) 284-5570

NDBC

Karen Grissom (DART Operations Mgr): Office: (228) 688-1325, Cell: (757) 469-6603

Stephen Cucullu: Office: (228) 688-3804

SPECIAL EQUIPMENT

Laptop Computers (2) *

* - These items must be taken on cruise. DART personnel will maintain continuous accountability of government/SAIC computer equipment.

SHIP/VESSEL INFORMATION

Vessel:  R/V Oceanus

Embark Location: Morehead City, NC

POC: Mr. Eric Benway

(508) 289-3770

ebenway@whoi.edu

Debark Location: Woods Hole, MA

R/V Oceanus
Woods Hole Oceanographic Institution
266 Woods Hole Rd.
Woods Hole, MA  02543

POC: Mr. Eric Benway

(508) 289-3770

ebenway@whoi.edu